## Slide 1: ECEN 616, Fall 2022 Methods of Electric Power System Analysis
Prof. Adam Birchfield
Dept. of Electrical and Computer Engineering
Texas A&M University
abirchfield@tamu.edu
Class 1: Principles of Electromagnetic Transient Analysis, Part 1

## Slide 2: Energy and Power Group at Texas A&M
Texas A&M is a leader in power and energy research!
13+ Faculty members in various expertise areas of power systems, power electronics, and electric machines
Get connected!
Top: Smart grid control center facility in the center for infrastructure renewal on the RELLIS campus
Left: End of semester research group lunch
Right: TPEC is our graduate student-led IEEE technical conference that happens every year in February.

## Slide 3: Welcome to ECEN 616!
Course website: https://birchfield.engr.tamu.edu/616f22/
Syllabus on website gives detailed course info
Textbooks: Greenwood and Dommel
Evaluation
  20% Class participation: Attend class, do assigned reading, and contribute to class discussion
  40% Theory exam: Written and oral parts, tentative dates October 19 and 21
  40% Projects: Written reports tentatively due November 16, oral reports tentatively November 18

## Slide 4: Exercise 1
; ;
Initial charge on is 2 Coulombs; is discharged.
What happens to the current, voltages, charges, and energy? Sketch some plots to describe what happens.

## Slide 5: What This Class Will Cover
Electromagnetic Transients Theory
  Principles of transient analysis
  Analytical methods for solving transient problems
  Numerical methods for solving transient problems
  Block element models
  Transmission line models (overhead/underground, single-phase/multi-phase, frequency dependent)
  Transformer models
Electromagnetic Transients Applications
  Capacitor and reactor switching
  Transmission line switching
  Lightning studies and insulation coordination
  Transients with power-electronics components
  Electric field coupling

## Slide 6: EMTP-RV
The Electromagnetic Transients Program—Revised Version (EMTP-RV) will be used throughout the semester for exercises and for the final projects
TAMU has obtained educational licenses for this software for university computers.
You can access this software on the computers in the basement lab of Wisenbaker 061, or through the TAMU Engineering VDI
Make sure you can get access

## Slide 7: Reminders
Reading assignments for next class:
  Go to the NERC Major Event Report Page: https://www.nerc.com/pa/rrm/ea/Pages/Major-Event-Reports.aspx
  Read either the “March 2022 Panhandle Wind Disturbance Report​” or the “May/June 2021 Odessa Disturbance Report”
  Take notes and be prepared to discuss on Friday
Get access to EMTP-RV via the lab or VDI.
If you need accommodation for a disability, talk to the Disability Resources office and me as soon as you can.
Office hours: Mondays 1:30 to 3:00 pm

## Slide 8: Aggie Core Values and Aggie Honor Code
Aggie Core Values
  Respect
  Excellence
  Leadership
  Loyalty
  Integrity
  Selfless Service
Aggie Honor Code: An Aggie does not lie, cheat, or steal, or tolerate those who do.
Reveille and I hope you have a great semester!