## Slide 1: ECEN 616, Fall 2022 Methods of Electric Power System Analysis
Prof. Adam Birchfield
Dept. of Electrical and Computer Engineering
Texas A&M University
abirchfield@tamu.edu
Class 2: Principles of Electromagnetic Transient Analysis, Part 2

## Slide 2: Announcements
Course website: https://birchfield.engr.tamu.edu/616f22/
Syllabus on website gives detailed course info
Textbooks: Greenwood and Dommel
Make sure you can get access to EMTP in the basement lab of Wisenbaker 061, or through the TAMU Engineering VDI
For next Wednesday (8/31), try to do Example 1 using EMTP

## Slide 3: Exercise 1 in EMTP
For next Wednesday (8/31) try to build the Exercise 1 circuit in EMTP and run it with initial conditions
Make sure to solve it by hand first
Get started soon so we can discuss any issues on Monday

## Slide 4: What This Class Will Cover
Electromagnetic Transients Theory
  Principles of transient analysis
  Analytical methods for solving transient problems
  Numerical methods for solving transient problems
  Block element models
  Transmission line models (overhead/underground, single-phase/multi-phase, frequency dependent)
  Transformer models
Electromagnetic Transients Applications
  Capacitor and reactor switching
  Transmission line switching
  Lightning studies and insulation coordination
  Transients with power-electronics components
  Electric field coupling

## Slide 5: Case Study #1: Odessa Disturbance
What happened?
Why?
What kinds of modeling studies were needed?
NERC, Odessa Disturbance: Joint NERC and Texas RE Staff Report, Sept. 2021

## Slide 6: Case Study #2: Panhandle Wind Disturbance
What happened?
Why?
What kinds of modeling studies were needed?
NERC, Panhandle Wind Disturbance: Joint NERC and Texas RE Staff Report, Aug. 2022