## Slide 1: ECEN 616, Fall 2022 Methods of Electric Power System Analysis
Prof. Adam Birchfield
Dept. of Electrical and Computer Engineering
Texas A&M University
abirchfield@tamu.edu
Class 6: Analytical Methods for Transient Analysis, part 2

## Slide 2: Steps for Solving Transient Problems
Find the equivalent circuit for the system
  Convert to full three-line diagram
  If the fault is balanced, can do an equivalent single phase
  What needs to be modeled?
Solve the circuit in steady state before the transient event
  By hand or using power flow solution
  These will form the initial conditions for the differential equations
Solve the "particular solution" which is the steady-state condition after the transients have died out – again using steady-state techniques
Represent the transient conditions as differential equations
Solve using multiple methods
  By hand, simplify circuit RL, RC, or RLC conditions, use Laplace domain
  Numerically, using EMTP or similar program
Validate at every step!

## Slide 3: Common Laplace Transform Pairs

## Slide 4: Common Laplace Transform Properties
Linearity: multiplying by scalar and adding is not affected
First derivative: multiply by s and subtract initial value
Second derivative: multiply by , subtract s times initial value – initial first derivative
Integral: multiply by 1/s
Multiplication by t: negative derivative
Time delay by : multiply by
Multiplication by : shift by a (replace s with s+a)
Time scaling by 1/a:
Time convolution: s-domain multiplication

## Slide 5: Examples 2 and 3
These can be solved with similar methods to the first example (example 1)
Try with Laplace method and with other Diff Eq approaches
Verify that solved equation satisfies the original DE
Verify initial and final conditions
Model in EMTP and check results
Try variations

## Slide 6: Example 4
We want to solve for after the switch closes.
Pre-switch condition:
Immediately following the switch: as well, because inductor cannot change current instantaneously
Using steady-state AC circuit theory, the steady-state value of can be found, recognizing that so that
So,
+
_

## Slide 7: Example 4, cont
But what happens in the transient time period? Write a differential equation using KVL and the definition of R and L
Ok, now we just need to solve this differential equation
Use the Laplace transform, convert to the s domain
Recognize and isolate I(s)
We need to convert this back to time domain, which requires algebraic manipulation and splitting into partial fractions (whoop!)

## Slide 8: Example 4, cont
Redefine to easier variables and do partial fraction decomposition on the first term
Solve for the three B terms and you finally get (for the first term of I(s))
Which, in the time domain, is

## Slide 9: Example 4, cont
The second term is just the first term times s (which is derivative in the time domain)
Add the two terms and pull out like terms,

## Slide 10: Example 4, cont
Define
Now we can use our trig sum and difference formulas
Remember our definitions for and ?
Check our boundary conditions

## Slide 11: Think About the Solution
Compare to the cases of
What effect does have? Under what conditions is there no transient?
The best closing angle is near where the final current will have a zero crossing
The worst closing angle is 90 degrees before or after that
Highest possible current? Cannot be more than double the final magnitude. If the closing angle is worst-case, ½ cycle in, it will be

## Slide 12: EMTP Version of Example 4
Let's use V=100 kV, , ,
Steady-state current is 26.5 A
EMTP ac source is cosine-based, not sine-based
This means the time constant will be
Ideal closing angle would be about 89.2 with sine function, with cosine it is about -0.8
Left: ideal closing angle
Right: worst-case closing angle

## Slide 13: Assignments
Be working on Examples 2-4
  Study these slides for Example 4 and note any places that you don't follow
Remember our 9 principles!
Take advantage of office hours
Goal: to gain experience using analytical methods to solve transient problems with R, L, C, and dc and ac sources