## Slide 1: ECEN 615, Fall 2023 Methods of Electric Power System Analysis
Prof. Adam Birchfield
Dept. of Electrical and Computer Engineering
Texas A&M University
abirchfield@tamu.edu
Class 4: Power Flow

## Slide 2: Solution to Practice Problem 1
Real power = Reactive power = .
kV. As a cosine function, this is 408.1 cos(377t + 15) kV
.

## Slide 3: Solution to Practice Problem 2
a.
b.
c. Vgen = 0.978∠0, Ztx1 = j0.0526, Zline = 0.0158 + j0.0420, Yline = j0.0381, Ztx2 = j0.0525, Sload = 0.18 +j0.04
d.
Base | Left | Middle | Right
S | 100 MVA | 100 MVA | 100 MVA
V | 13.8 kV | 138 kV | 69 kV
I | 4183 A | 418 A | 837 A
Z | 1.90 | 190.44 | 47.61
Base | Left | Middle | Right
S | 100 MVA | 100 MVA | 100 MVA
V | 13.8 kV | 138 kV | 69 kV
I | 4183 A | 418 A | 837 A
Z |  |  | 
-j19.01 | j19.01 | 0 | 0
j19.01 | 7.846-j39.848 | -7.846+j20.857 | 0
0 | -7.846+j20.857 | 7.845-j39.888 | j19.05
0 | 0 | j19.05 | -j19.05

## Slide 4: Power Flow Bus Types
Each bus has one of three basic types, and for each one there are two known variables and two unknown variables:
  Load (PQ) bus
    Assume P/Q are fixed at most buses in the system
    Known: and , Unknown: and
  Slack bus
    Only one in the whole system
    Usually assigned to a large generator bus
    Known: and , Unknown: and
    Provides angle reference () and picks up the slack P
  Generator (PV) bus
    Other generators (5-10% of buses in a large system)
    Assume generator is controlling power output and voltage
    Known: and , Unknown: and

## Slide 5: Newton-Raphson Power Flow Procedure
Build the Y-bus matrix
Write the list of variables and power balance equations
Make the power flow Jacobian
Make an initial guess of
While

## Slide 6: Solution to Practice Problem 3

## Slide 7: More Practice Problems
Textbook “Power System Analysis and Design” by Glover/Overbye/Sarma
ECEN 460 Quizzes/Exams/Homework
  https://birchfield.engr.tamu.edu/460s23/

## Slide 8: Fractals!
C.L DeMarco and T.J. Overbye, “Low Voltage Power Flow Solutions and Their Role in Exit Time Bases Security Measures for Voltage Collapse,” Proc. 27th IEEE CDC, December 1988
J.S. Thorp, S.A. Naqavi, “Load-Flow Fractals Draw Clues to Erratic Behavior,” IEEE Computer Applications in Power, January 1997
Red region converges to the high voltage solution, while the yellow region converges to the low voltage solution

## Slide 9: The N-R Power Flow: 5-bus Example
400 MVA
15 kV
400 MVA
15/345 kV
T1
T2
800 MVA
345/15 kV
800 MVA
15 kV
520 MVA
80 MW
40 Mvar
280 Mvar
800 MW
Line 3 345 kV
Line 2
Line 1
345 kV 100 mi
345 kV 200 mi
50 mi
1
4
3
2
5
Single-line diagram

## Slide 10: The N-R Power Flow: 5-bus Example
Bus | Type | V per unit |  degrees | PG per unit | QG per unit | PL per unit | QL per unit | QGmax per unit | QGmin per unit
1 | Swing | 1.0 | 0 |  |  | 0 | 0 |  | 
2 | Load |  |  | 0 | 0 | 8.0 | 2.8 |  | 
3 | Constant voltage | 1.05 |  | 5.2 |  | 0.8 | 0.4 | 4.0 | -2.8
4 | Load |  |  | 0 | 0 | 0 | 0 |  | 
5 | Load |  |  | 0 | 0 | 0 | 0 |  | 
Table 1.
Bus input
data
Bus-to-Bus | R’ per unit | X’ per unit | G’ per unit | B’ per unit | Maximum MVA per unit
2-4 | 0.0090 | 0.100 | 0 | 1.72 | 12.0
2-5 | 0.0045 | 0.050 | 0 | 0.88 | 12.0
4-5 | 0.00225 | 0.025 | 0 | 0.44 | 12.0
Table 2.
Line input data
Notes: 10

## Slide 11: The N-R Power Flow: 5-bus Example
Bus-to-Bus | R per unit | X per unit | Gc per unit | Bm per unit | Maximum MVA per unit | Maximum TAP Setting per unit
1-5 | 0.00150 | 0.02 | 0 | 0 | 6.0 | —
3-4 | 0.00075 | 0.01 | 0 | 0 | 10.0 | —
Table 3.
Transformer
input data
Bus | Input Data | Unknowns
1 | V1 = 1.0, 1 = 0 | P1, Q1
2 | P2 = PG2-PL2 = -8 Q2 = QG2-QL2 = -2.8 | V2, 2
3 | V3 = 1.05 P3 = PG3-PL3 = 4.4 | Q3, 3
4 | P4 = 0, Q4 = 0 | V4, 4
5 | P5 = 0, Q5 = 0 | V5, 5
Table 4. Input data
and unknowns
Notes: 11

## Slide 12: Time to Close the Hood: Let the Computer Do the Math! (Ybus Shown)
Notes: 12

## Slide 13: Ybus Details
Elements of Ybus connected to bus 2
Notes: 13

## Slide 14: Here Are the Initial Bus Mismatches
Notes: 14

## Slide 15: And the Initial Power Flow Jacobian
Notes: 15

## Slide 16: And the Hand Calculation Details!
Notes: 16

## Slide 17: Five Bus Power System Solved
Notes: 17

## Slide 18: Generator Reactive Power Limits
The reactive power output of generators varies to maintain the terminal voltage; on a real generator this is done by the exciter
To maintain higher voltages requires more reactive power
Generators have reactive power limits, which are dependent upon the generator's MW output
These limits must be considered during the power flow solution
  During power flow, once a solution is obtained, check to make generator reactive power output is within its limits
  If the reactive power is outside of the limits, fix Q at the max or min value, and resolve treating the generator as a PQ bus
    this is know as "type-switching"
    also need to check if a PQ generator can again regulate
Rule of thumb: to raise system voltage we need to supply more vars

## Slide 19: Modeling Voltage Dependent Load
So far we′ve assumed that the load is independent of the bus voltage (i.e., constant power). However, the power flow can be easily extended to include voltage dependence with both the real and reactive load. This is done by making and a function of

## Slide 20: Voltage Dependent Load Example
In previous two bus example now assume the load is constant impedance, so
Now calculate the power flow Jacobian

## Slide 21: Assignment 1
On the website
Due 9/13/23 at 4pm
You are encouraged to add additional features and experiment
We will discuss your results in class on Sept. 13