## Slide 1: ECEN 616, Spring 2025 Electromagnetic Transients in Power Systems
Prof. Adam Birchfield
Dept. of Electrical and Computer Engineering
Texas A&M University
abirchfield@tamu.edu
Class 11: Transformer Models

## Slide 2: Homework
Example 1 – Solve using analytical methods and numerical methods (Forward Euler, 2nd order Runge-Kutta, trapezoidal with companion circuit approach)
Read Dommel chapters 1-3, the Noda 2009 paper, Greenwood Chapter 5 (and reference Ch. 1-4)
Solve examples 2-7 analytically.
Read the Marti and Morched papers.

## Slide 3: Transformers Overview
Power systems are characterized by many different voltage levels, ranging from 765 kV down to 240/120 volts.
Transformers are used to transfer power between different voltage levels.
Today we’re talking about modeling transformers for EMT-type studies

## Slide 4: Transmission Level Transformer

## Slide 5: How are Three-Phase Transformers Configured?
Three single-phase transformers
Or three-phase, three-limb
Or three-phase, five-limb
Or autotransformer
Each side either wye or delta
Grounding impedance

## Slide 6: What Model Do We Have So Far?
Ideal transformer
Adding in winding resistance and leakage inductance
Adding in core losses and magnetizing inductance

## Slide 7: Modeling Core Saturation
Core saturation – nonlinear inductance

## Slide 8: The Hysteresis Loop

## Slide 9: Stray Capacitances
As higher frequency phenomenon are modeled, stray capacitances become more significant
  Capacitances between turns of the same winding
  Capacitances between two different windings
  Capacitances between the windings, terminals, and the ground

## Slide 10: Tap-Changing Transformers