## Slide 1: Summary of Class So Far
Principles of Electromagnetic Transient Analysis
Numerical Methods – Euler, Backw. Euler, Trap., RK2, Adams-Bashforth
Systematic numerical solutions with the companion circuit model, including how to model L and C with Norton equivalents
Analytical solutions – Laplace method, finding resonant frequency, simplification techniques
Transmission line modeling: Telegrapher’s equations, basic Bergeron model, lossy Bergeron, multi-conductor modal analysis, frequency dependence
Transformer models

## Slide 2: Example 9: Impulse Generator
At is charged to 500 kV, and then the switch closes. Find , the voltage across .
Analytically
and Numerically, using the companion circuit model with

## Slide 3: Analytical Solution
KCL and
Cap equation and
Laplace (note )
and (note )
Solve for
Solve for :
Putting in the values:

## Slide 4: Analytical Solution, Continued
Factor the quadratic in the denominator to get it in a form on our Laplace table
Convert to time domain with Laplace table
[Volts]

## Slide 5: Numerical Solution
Use the Trapezoidal method with the companion circuit model, with
Make circuit matrix
Write equations for the history values
Initial conditions:

## Slide 6: Numerical Solution, Cont.

## Slide 7: Plotting the Results
Excellent match!
This is a “pulse generator”
circuit.